Water Heater Cheat Sheet

Did You Include?

- Vent Kit

- Condensate Kits

- Relief Valves on Each Tank (Check Tapping Size and PSI Required)

- Return Pumps with Flanges – Low Temp. And High Temp.

- Aquastats

- Expansion Tanks

- Mixing Valves with Gages (See Below)

- Freight

- Start- Up

THERMOMETERS

Model     Dial Size        Ordering #        Range	Probe       List	           Quote Price        WMS Cost

TA-9         3-1/2               0617002            0-160           3-1/2”      $114.70          $68.82                   $28.50

Note: Use 1 for Each Tank & 1 for Each Return Line

Note: Includes Thermowell

Solar Operated Digital Tries  SX9  $40.00 (VJ Stanley)

T& P GAUGES

Model          Dial Size       Ordering #        Range              List	                  Quote Price       WMS Cost

DPTG-3         3”                    0615631             60-320	       $168.90            $101.34                $19.00

DPTG-3         3”                    0615632             60-320            $168.90            $101.34                $19.00

Note: Above DPTG are Back Entry

Note: Use 2 for Each Mixing Valve-Outlet and Cold Inlet